## Slide 1
Acceleration of the solution of parametric inverse problem by constructing a hierarchical structure of a pre-computed modeled signals database
Novosibirsk ICK&C C&B lab.
Artem Muliukov
Sci. Adv. Maxim Yurkin

## Slide 2
Scanning flow cytometer

## Slide 3
Scanning flow cytometer

## Slide 4
FSC
Standard flow cytometry
Scanning flow cytometry

## Slide 5
Scattering angle, grad
Intensity
Result of Cytometer work

## Slide 6
Problem
V = ? a/b = ?
n = ? β = ?

## Slide 7
Problem
V = ? a/b = ?
n = ? β = ?
V = 1.2 a/b = 5.4
n = 1.47 β = 24.73
Solved problem (DDA):

## Slide 8
V = 1.2 a/b = 5.4
n = 1.47 β = 24.73
DDA
(x1,x2,… x61)
Angels from 10 to 70
DDA
V = 1.0 1.1 1.2 1.3
a/b
=
1.0
1.1
1.2
1.3

## Slide 9
DDA
V = 1.0 1.1 1.2 1.3
a/b
=
1.0
1.1
1.2
1.3
V = ?
a/b
=
?
Measuring

## Slide 10
r1
r2
r3
r4
We are choosing the closest point
Next we can say that the nearest point is the desired point to within noise. And get more detailed results about the evaluation of cell parameters by counting the statistics (ME, STD) .

## Slide 11
Change brute force alg. to the hierarchical data structure ( firstly the ball tree)
Realization on Cython or on C++. Boosting algorithm from O(n) to ~O( log(n) )
Implementation my library to the current laboratory soft(LabVIEW)
Distribute my code as open source for solving of inverse tasks.
Next here the example of hierarchy structure of points in precomputed database

## Slide 16
D1_max
D1_min

## Slide 17
D2_max
D4_min
D2_max < D4_min
bypass width

## Slide 18
D2_max
D4_min
D2_max < D4_min
bypass width

## Slide 19
R_min
D4_min
R_min < D4_min
bypass depth

## Slide 20
R_min
D4_min
R_min < D4_min
bypass depth

## Slide 21
Results
Testing of existing realization of BallTree from sklearn.
Processed the measures for speed of work and for the number of compotation's
D1
D2
Selected Dimention:
Max(Di)
D2
Divide by half

## Slide 22
D2
D1

## Slide 25
Ratio between the brute force and ball tree (result peed up of process)

## Slide 26
Thanks for attention
«Acceleration of the solution of parametric inverse problem by constructing a hierarchical structure of a pre-computed modeled signals database»
Novosibirsk ICKC C&B lab. Artem Muliukov
Sci. Adv. Maxim Yurkin